[image: image1.png]4 )

FOUR GLASS ( E A E

REFRIGERATING SHOWCASE

Defrost timer Thermostat

2 [BE Y}
MODEL: SC-70FB BR BR BR g/f, : E .
SOURCE: AC220-240V k | : 4| YgGN BK
FREQUENCY: S0Hz Aczgg-l?ov T
V/
CLIMATE CLASS: N L =—=— Stater - -1\;[- 3
! t
PROTECTIVE CLASS: I E : otor
Ne—==——YEIGN Fan rotector
RATED INPUT POWER: 150W Plus = @
R : =
GROSS VOLUME 70L 29 oL BL
REFRIGERANT/CHARGE:  R600a/28g £
POWER CONSUMPTION:  1.8kW - h/24h S Compressor yglon
MANUFACTURING DATE: BL BL
SERIAL No:

Electric Wiring Diagram

\_ J




Artikel-Beschreibung
:
Mini-Umluftkühlvitrine Modell SC 70 – Farbe: schwarz

Artikel-Nr.
:
330-1005



[image: image2.png]



	Saro Gastro-Products GmbH
	Sandbahn 6
	46446 Emmerich am Rhein

	Telefon: (0 28 22) 92 58-0
	e-mail: info@saro.de
	Internet: www.saro.de



